## lines
name | upgrade_type | phases | voltage_kV | ampere_rating | line_placement | cost_per_m | cost_units
1P_OH_AL_4_Periwinkle_0_120_0 | new_line | 1 | 0.120 | 145 | overhead | 7.0449 | USD
1P_OH_AL_4_Periwinkle_0_120_0 | reconductored_line | 1 | 0.120 | 145 | overhead | 7.0449 | USD
1P_OH_AL_1/0_Neritina_0_120_0 | new_line | 1 | 0.120 | 260 | overhead | 8.7314 | USD
1P_OH_AL_1/0_Neritina_0_120_0 | reconductored_line | 1 | 0.120 | 260 | overhead | 8.7314 | USD
1P_OH_AL_2/0_Rucina_0_120_0 | new_line | 1 | 0.120 | 300 | overhead | 9.5303 | USD
1P_OH_AL_2/0_Rucina_0_120_0 | reconductored_line | 1 | 0.120 | 300 | overhead | 9.5303 | USD
1P_OH_AL_4/0_Zuzara_0_120_0 | new_line | 1 | 0.120 | 405 | overhead | 11.0394 | USD
1P_OH_AL_4/0_Zuzara_0_120_0 | reconductored_line | 1 | 0.120 | 405 | overhead | 11.0394 | USD
3P_UG_AL_4/0_15_0_480_0 | new_line | 3 | 0.480 | 330 | underground | 10.9367 | USD
3P_UG_AL_4/0_15_0_480_0 | reconductored_line | 3 | 0.480 | 330 | underground | 10.9367 | USD
3P_UG_AL_4/0_25_0_480_0 | new_line | 3 | 0.480 | 330 | underground | 11.0599 | USD
3P_UG_AL_4/0_25_0_480_0 | reconductored_line | 3 | 0.480 | 330 | underground | 11.0599 | USD
3P_UG_AL_350kcmil_15_0_480_0 | new_line | 3 | 0.480 | 440 | underground | 11.9831 | USD
3P_UG_AL_350kcmil_15_0_480_0 | reconductored_line | 3 | 0.480 | 440 | underground | 11.9831 | USD
3P_UG_AL_350kcmil_25_0_480_0 | new_line | 3 | 0.480 | 440 | underground | 12.2293 | USD
3P_UG_AL_350kcmil_25_0_480_0 | reconductored_line | 3 | 0.480 | 440 | underground | 12.2293 | USD
3P_UG_AL_750kcmil_15_0_480_0 | new_line | 3 | 0.480 | 640 | underground | 13.8911 | USD
3P_UG_AL_750kcmil_15_0_480_0 | reconductored_line | 3 | 0.480 | 640 | underground | 13.8911 | USD
3P_UG_AL_750kcmil_25_0_480_0 | new_line | 3 | 0.480 | 640 | underground | 14.1989 | USD
3P_UG_AL_750kcmil_25_0_480_0 | reconductored_line | 3 | 0.480 | 640 | underground | 14.1989 | USD
1P_OH_AL_ACSR_#2_Sparrow_4_0 | new_line | 1 | 4 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_4_0 | reconductored_line | 1 | 4 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_4_0 | new_line | 1 | 4 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_4_0 | reconductored_line | 1 | 4 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 1 | 4 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 1 | 4 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 1 | 4 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 1 | 4 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | new_line | 1 | 4 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | reconductored_line | 1 | 4 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 2 | 4 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 2 | 4 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 2 | 4 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 2 | 4 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 3 | 4 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 3 | 4 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 3 | 4 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 3 | 4 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | new_line | 3 | 4 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | reconductored_line | 3 | 4 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | new_line | 3 | 4 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | reconductored_line | 3 | 4 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | new_line | 1 | 12.47 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | reconductored_line | 1 | 12.47 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_12_47_0 | new_line | 1 | 12.47 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_12_47_0 | reconductored_line | 1 | 12.47 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 1 | 12.47 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 1 | 12.47 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 1 | 12.47 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 1 | 12.47 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | new_line | 1 | 12.47 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | reconductored_line | 1 | 12.47 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 2 | 12.47 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 2 | 12.47 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 2 | 12.47 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 2 | 12.47 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 3 | 12.47 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 3 | 12.47 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 3 | 12.47 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 3 | 12.47 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | new_line | 3 | 12.47 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | reconductored_line | 3 | 12.47 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | new_line | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | reconductored_line | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | new_line | 1 | 13.2 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | reconductored_line | 1 | 13.2 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_13_2_0 | new_line | 1 | 13.2 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_13_2_0 | reconductored_line | 1 | 13.2 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 1 | 13.2 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 1 | 13.2 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 1 | 13.2 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 1 | 13.2 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | new_line | 1 | 13.2 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | reconductored_line | 1 | 13.2 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 2 | 13.2 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 2 | 13.2 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 2 | 13.2 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 2 | 13.2 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 3 | 13.2 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 3 | 13.2 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 3 | 13.2 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 3 | 13.2 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | new_line | 3 | 13.2 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | reconductored_line | 3 | 13.2 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | new_line | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | reconductored_line | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_AAC_#2_Iris_25_0 | new_line | 1 | 25 | 185 | overhead | 69.4132 | USD
1P_OH_AL_AAC_#2_Iris_25_0 | reconductored_line | 1 | 25 | 185 | overhead | 69.4132 | USD
1P_OH_AL_AAC_1/0_Poppy_25_0 | new_line | 1 | 25 | 245 | overhead | 74.8053 | USD
1P_OH_AL_AAC_1/0_Poppy_25_0 | reconductored_line | 1 | 25 | 245 | overhead | 74.8053 | USD
1P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 1 | 25 | 380 | overhead | 87.0598 | USD
1P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 1 | 25 | 380 | overhead | 87.0598 | USD
1P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 1 | 25 | 515 | overhead | 98.8242 | USD
1P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 1 | 25 | 515 | overhead | 98.8242 | USD
1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | new_line | 1 | 25 | 640 | overhead | 110.0984 | USD
1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | reconductored_line | 1 | 25 | 640 | overhead | 110.0984 | USD
2P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 2 | 25 | 380 | overhead | 121.3727 | USD
2P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 2 | 25 | 380 | overhead | 121.3727 | USD
2P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 2 | 25 | 515 | overhead | 144.9015 | USD
2P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 2 | 25 | 515 | overhead | 144.9015 | USD
3P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 3 | 25 | 380 | overhead | 155.6855 | USD
3P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 3 | 25 | 380 | overhead | 155.6855 | USD
3P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 3 | 25 | 515 | overhead | 190.9787 | USD
3P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 3 | 25 | 515 | overhead | 190.9787 | USD
3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | new_line | 3 | 25 | 640 | overhead | 224.8014 | USD
3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | reconductored_line | 3 | 25 | 640 | overhead | 224.8014 | USD
3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | new_line | 3 | 25 | 875 | overhead | 288.035 | USD
3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | reconductored_line | 3 | 25 | 875 | overhead | 288.035 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | new_line | 3 | 25 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | reconductored_line | 3 | 25 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_4_Periwinkle_0_120_0 | new_line | 1 | 0.120 | 145 | overhead | 7.0449 | USD
1P_OH_AL_4_Periwinkle_0_120_0 | reconductored_line | 1 | 0.120 | 145 | overhead | 7.0449 | USD
1P_OH_AL_1/0_Neritina_0_120_0 | new_line | 1 | 0.120 | 260 | overhead | 8.7314 | USD
1P_OH_AL_1/0_Neritina_0_120_0 | reconductored_line | 1 | 0.120 | 260 | overhead | 8.7314 | USD
1P_OH_AL_2/0_Rucina_0_120_0 | new_line | 1 | 0.120 | 300 | overhead | 9.5303 | USD
1P_OH_AL_2/0_Rucina_0_120_0 | reconductored_line | 1 | 0.120 | 300 | overhead | 9.5303 | USD
1P_OH_AL_4/0_Zuzara_0_120_0 | new_line | 1 | 0.120 | 405 | overhead | 11.0394 | USD
1P_OH_AL_4/0_Zuzara_0_120_0 | reconductored_line | 1 | 0.120 | 405 | overhead | 11.0394 | USD
3P_UG_AL_4/0_15_0_480_0 | new_line | 3 | 0.480 | 330 | underground | 10.9367 | USD
3P_UG_AL_4/0_15_0_480_0 | reconductored_line | 3 | 0.480 | 330 | underground | 10.9367 | USD
3P_UG_AL_4/0_25_0_480_0 | new_line | 3 | 0.480 | 330 | underground | 11.0599 | USD
3P_UG_AL_4/0_25_0_480_0 | reconductored_line | 3 | 0.480 | 330 | underground | 11.0599 | USD
3P_UG_AL_350kcmil_15_0_480_0 | new_line | 3 | 0.480 | 440 | underground | 11.9831 | USD
3P_UG_AL_350kcmil_15_0_480_0 | reconductored_line | 3 | 0.480 | 440 | underground | 11.9831 | USD
3P_UG_AL_350kcmil_25_0_480_0 | new_line | 3 | 0.480 | 440 | underground | 12.2293 | USD
3P_UG_AL_350kcmil_25_0_480_0 | reconductored_line | 3 | 0.480 | 440 | underground | 12.2293 | USD
3P_UG_AL_750kcmil_15_0_480_0 | new_line | 3 | 0.480 | 640 | underground | 13.8911 | USD
3P_UG_AL_750kcmil_15_0_480_0 | reconductored_line | 3 | 0.480 | 640 | underground | 13.8911 | USD
3P_UG_AL_750kcmil_25_0_480_0 | new_line | 3 | 0.480 | 640 | underground | 14.1989 | USD
3P_UG_AL_750kcmil_25_0_480_0 | reconductored_line | 3 | 0.480 | 640 | underground | 14.1989 | USD
1P_OH_AL_ACSR_#2_Sparrow_4_0 | new_line | 1 | 4 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_4_0 | reconductored_line | 1 | 4 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_4_0 | new_line | 1 | 4 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_4_0 | reconductored_line | 1 | 4 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 1 | 4 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 1 | 4 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 1 | 4 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 1 | 4 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | new_line | 1 | 4 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | reconductored_line | 1 | 4 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 2 | 4 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 2 | 4 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 2 | 4 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 2 | 4 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 3 | 4 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 3 | 4 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 3 | 4 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 3 | 4 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | new_line | 3 | 4 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | reconductored_line | 3 | 4 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | new_line | 3 | 4 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | reconductored_line | 3 | 4 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | new_line | 1 | 12.47 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | reconductored_line | 1 | 12.47 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_12_47_0 | new_line | 1 | 12.47 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_12_47_0 | reconductored_line | 1 | 12.47 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 1 | 12.47 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 1 | 12.47 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 1 | 12.47 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 1 | 12.47 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | new_line | 1 | 12.47 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | reconductored_line | 1 | 12.47 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 2 | 12.47 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 2 | 12.47 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 2 | 12.47 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 2 | 12.47 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 3 | 12.47 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 3 | 12.47 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 3 | 12.47 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 3 | 12.47 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | new_line | 3 | 12.47 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | reconductored_line | 3 | 12.47 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | new_line | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | reconductored_line | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | new_line | 1 | 13.2 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | reconductored_line | 1 | 13.2 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_13_2_0 | new_line | 1 | 13.2 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_13_2_0 | reconductored_line | 1 | 13.2 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 1 | 13.2 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 1 | 13.2 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 1 | 13.2 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 1 | 13.2 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | new_line | 1 | 13.2 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | reconductored_line | 1 | 13.2 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 2 | 13.2 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 2 | 13.2 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 2 | 13.2 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 2 | 13.2 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 3 | 13.2 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 3 | 13.2 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 3 | 13.2 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 3 | 13.2 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | new_line | 3 | 13.2 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | reconductored_line | 3 | 13.2 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | new_line | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | reconductored_line | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_AAC_#2_Iris_25_0 | new_line | 1 | 25 | 185 | overhead | 69.4132 | USD
1P_OH_AL_AAC_#2_Iris_25_0 | reconductored_line | 1 | 25 | 185 | overhead | 69.4132 | USD
1P_OH_AL_AAC_1/0_Poppy_25_0 | new_line | 1 | 25 | 245 | overhead | 74.8053 | USD
1P_OH_AL_AAC_1/0_Poppy_25_0 | reconductored_line | 1 | 25 | 245 | overhead | 74.8053 | USD
1P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 1 | 25 | 380 | overhead | 87.0598 | USD
1P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 1 | 25 | 380 | overhead | 87.0598 | USD
1P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 1 | 25 | 515 | overhead | 98.8242 | USD
1P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 1 | 25 | 515 | overhead | 98.8242 | USD
1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | new_line | 1 | 25 | 640 | overhead | 110.0984 | USD
1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | reconductored_line | 1 | 25 | 640 | overhead | 110.0984 | USD
2P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 2 | 25 | 380 | overhead | 121.3727 | USD
2P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 2 | 25 | 380 | overhead | 121.3727 | USD
2P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 2 | 25 | 515 | overhead | 144.9015 | USD
2P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 2 | 25 | 515 | overhead | 144.9015 | USD
3P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 3 | 25 | 380 | overhead | 155.6855 | USD
3P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 3 | 25 | 380 | overhead | 155.6855 | USD
3P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 3 | 25 | 515 | overhead | 190.9787 | USD
3P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 3 | 25 | 515 | overhead | 190.9787 | USD
3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | new_line | 3 | 25 | 640 | overhead | 224.8014 | USD
3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | reconductored_line | 3 | 25 | 640 | overhead | 224.8014 | USD
3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | new_line | 3 | 25 | 875 | overhead | 288.035 | USD
3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | reconductored_line | 3 | 25 | 875 | overhead | 288.035 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | new_line | 3 | 25 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | reconductored_line | 3 | 25 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_4_Periwinkle_0_120_0 | new_line | 1 | 0.120 | 145 | overhead | 7.0449 | USD
1P_OH_AL_4_Periwinkle_0_120_0 | reconductored_line | 1 | 0.120 | 145 | overhead | 7.0449 | USD
1P_OH_AL_1/0_Neritina_0_120_0 | new_line | 1 | 0.120 | 260 | overhead | 8.7314 | USD
1P_OH_AL_1/0_Neritina_0_120_0 | reconductored_line | 1 | 0.120 | 260 | overhead | 8.7314 | USD
1P_OH_AL_2/0_Rucina_0_120_0 | new_line | 1 | 0.120 | 300 | overhead | 9.5303 | USD
1P_OH_AL_2/0_Rucina_0_120_0 | reconductored_line | 1 | 0.120 | 300 | overhead | 9.5303 | USD
1P_OH_AL_4/0_Zuzara_0_120_0 | new_line | 1 | 0.120 | 405 | overhead | 11.0394 | USD
1P_OH_AL_4/0_Zuzara_0_120_0 | reconductored_line | 1 | 0.120 | 405 | overhead | 11.0394 | USD
3P_UG_AL_4/0_15_0_480_0 | new_line | 3 | 0.480 | 330 | underground | 10.9367 | USD
3P_UG_AL_4/0_15_0_480_0 | reconductored_line | 3 | 0.480 | 330 | underground | 10.9367 | USD
3P_UG_AL_4/0_25_0_480_0 | new_line | 3 | 0.480 | 330 | underground | 11.0599 | USD
3P_UG_AL_4/0_25_0_480_0 | reconductored_line | 3 | 0.480 | 330 | underground | 11.0599 | USD
3P_UG_AL_350kcmil_15_0_480_0 | new_line | 3 | 0.480 | 440 | underground | 11.9831 | USD
3P_UG_AL_350kcmil_15_0_480_0 | reconductored_line | 3 | 0.480 | 440 | underground | 11.9831 | USD
3P_UG_AL_350kcmil_25_0_480_0 | new_line | 3 | 0.480 | 440 | underground | 12.2293 | USD
3P_UG_AL_350kcmil_25_0_480_0 | reconductored_line | 3 | 0.480 | 440 | underground | 12.2293 | USD
3P_UG_AL_750kcmil_15_0_480_0 | new_line | 3 | 0.480 | 640 | underground | 13.8911 | USD
3P_UG_AL_750kcmil_15_0_480_0 | reconductored_line | 3 | 0.480 | 640 | underground | 13.8911 | USD
3P_UG_AL_750kcmil_25_0_480_0 | new_line | 3 | 0.480 | 640 | underground | 14.1989 | USD
3P_UG_AL_750kcmil_25_0_480_0 | reconductored_line | 3 | 0.480 | 640 | underground | 14.1989 | USD
1P_OH_AL_ACSR_#2_Sparrow_4_0 | new_line | 1 | 4 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_4_0 | reconductored_line | 1 | 4 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_4_0 | new_line | 1 | 4 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_4_0 | reconductored_line | 1 | 4 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 1 | 4 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 1 | 4 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 1 | 4 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 1 | 4 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | new_line | 1 | 4 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | reconductored_line | 1 | 4 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 2 | 4 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 2 | 4 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 2 | 4 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 2 | 4 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 3 | 4 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 3 | 4 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 3 | 4 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 3 | 4 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | new_line | 3 | 4 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | reconductored_line | 3 | 4 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | new_line | 3 | 4 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | reconductored_line | 3 | 4 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | new_line | 1 | 12.47 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | reconductored_line | 1 | 12.47 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_12_47_0 | new_line | 1 | 12.47 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_12_47_0 | reconductored_line | 1 | 12.47 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 1 | 12.47 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 1 | 12.47 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 1 | 12.47 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 1 | 12.47 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | new_line | 1 | 12.47 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | reconductored_line | 1 | 12.47 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 2 | 12.47 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 2 | 12.47 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 2 | 12.47 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 2 | 12.47 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 3 | 12.47 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 3 | 12.47 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 3 | 12.47 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 3 | 12.47 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | new_line | 3 | 12.47 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | reconductored_line | 3 | 12.47 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | new_line | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | reconductored_line | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | new_line | 1 | 13.2 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | reconductored_line | 1 | 13.2 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_13_2_0 | new_line | 1 | 13.2 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_13_2_0 | reconductored_line | 1 | 13.2 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 1 | 13.2 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 1 | 13.2 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 1 | 13.2 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 1 | 13.2 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | new_line | 1 | 13.2 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | reconductored_line | 1 | 13.2 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 2 | 13.2 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 2 | 13.2 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 2 | 13.2 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 2 | 13.2 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 3 | 13.2 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 3 | 13.2 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 3 | 13.2 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 3 | 13.2 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | new_line | 3 | 13.2 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | reconductored_line | 3 | 13.2 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | new_line | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | reconductored_line | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_AAC_#2_Iris_25_0 | new_line | 1 | 25 | 185 | overhead | 69.4132 | USD
1P_OH_AL_AAC_#2_Iris_25_0 | reconductored_line | 1 | 25 | 185 | overhead | 69.4132 | USD
1P_OH_AL_AAC_1/0_Poppy_25_0 | new_line | 1 | 25 | 245 | overhead | 74.8053 | USD
1P_OH_AL_AAC_1/0_Poppy_25_0 | reconductored_line | 1 | 25 | 245 | overhead | 74.8053 | USD
1P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 1 | 25 | 380 | overhead | 87.0598 | USD
1P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 1 | 25 | 380 | overhead | 87.0598 | USD
1P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 1 | 25 | 515 | overhead | 98.8242 | USD
1P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 1 | 25 | 515 | overhead | 98.8242 | USD
1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | new_line | 1 | 25 | 640 | overhead | 110.0984 | USD
1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | reconductored_line | 1 | 25 | 640 | overhead | 110.0984 | USD
2P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 2 | 25 | 380 | overhead | 121.3727 | USD
2P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 2 | 25 | 380 | overhead | 121.3727 | USD
2P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 2 | 25 | 515 | overhead | 144.9015 | USD
2P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 2 | 25 | 515 | overhead | 144.9015 | USD
3P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 3 | 25 | 380 | overhead | 155.6855 | USD
3P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 3 | 25 | 380 | overhead | 155.6855 | USD
3P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 3 | 25 | 515 | overhead | 190.9787 | USD
3P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 3 | 25 | 515 | overhead | 190.9787 | USD
3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | new_line | 3 | 25 | 640 | overhead | 224.8014 | USD
3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | reconductored_line | 3 | 25 | 640 | overhead | 224.8014 | USD
3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | new_line | 3 | 25 | 875 | overhead | 288.035 | USD
3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | reconductored_line | 3 | 25 | 875 | overhead | 288.035 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | new_line | 3 | 25 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | reconductored_line | 3 | 25 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_4_Periwinkle_0_120_0 | new_line | 1 | 0.120 | 145 | overhead | 7.0449 | USD
1P_OH_AL_4_Periwinkle_0_120_0 | reconductored_line | 1 | 0.120 | 145 | overhead | 7.0449 | USD
1P_OH_AL_1/0_Neritina_0_120_0 | new_line | 1 | 0.120 | 260 | overhead | 8.7314 | USD
1P_OH_AL_1/0_Neritina_0_120_0 | reconductored_line | 1 | 0.120 | 260 | overhead | 8.7314 | USD
1P_OH_AL_2/0_Rucina_0_120_0 | new_line | 1 | 0.120 | 300 | overhead | 9.5303 | USD
1P_OH_AL_2/0_Rucina_0_120_0 | reconductored_line | 1 | 0.120 | 300 | overhead | 9.5303 | USD
1P_OH_AL_4/0_Zuzara_0_120_0 | new_line | 1 | 0.120 | 405 | overhead | 11.0394 | USD
1P_OH_AL_4/0_Zuzara_0_120_0 | reconductored_line | 1 | 0.120 | 405 | overhead | 11.0394 | USD
3P_UG_AL_4/0_15_0_480_0 | new_line | 3 | 0.480 | 330 | underground | 10.9367 | USD
3P_UG_AL_4/0_15_0_480_0 | reconductored_line | 3 | 0.480 | 330 | underground | 10.9367 | USD
3P_UG_AL_4/0_25_0_480_0 | new_line | 3 | 0.480 | 330 | underground | 11.0599 | USD
3P_UG_AL_4/0_25_0_480_0 | reconductored_line | 3 | 0.480 | 330 | underground | 11.0599 | USD
3P_UG_AL_350kcmil_15_0_480_0 | new_line | 3 | 0.480 | 440 | underground | 11.9831 | USD
3P_UG_AL_350kcmil_15_0_480_0 | reconductored_line | 3 | 0.480 | 440 | underground | 11.9831 | USD
3P_UG_AL_350kcmil_25_0_480_0 | new_line | 3 | 0.480 | 440 | underground | 12.2293 | USD
3P_UG_AL_350kcmil_25_0_480_0 | reconductored_line | 3 | 0.480 | 440 | underground | 12.2293 | USD
3P_UG_AL_750kcmil_15_0_480_0 | new_line | 3 | 0.480 | 640 | underground | 13.8911 | USD
3P_UG_AL_750kcmil_15_0_480_0 | reconductored_line | 3 | 0.480 | 640 | underground | 13.8911 | USD
3P_UG_AL_750kcmil_25_0_480_0 | new_line | 3 | 0.480 | 640 | underground | 14.1989 | USD
3P_UG_AL_750kcmil_25_0_480_0 | reconductored_line | 3 | 0.480 | 640 | underground | 14.1989 | USD
1P_OH_AL_ACSR_#2_Sparrow_4_0 | new_line | 1 | 4 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_4_0 | reconductored_line | 1 | 4 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_4_0 | new_line | 1 | 4 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_4_0 | reconductored_line | 1 | 4 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 1 | 4 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 1 | 4 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 1 | 4 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 1 | 4 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | new_line | 1 | 4 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | reconductored_line | 1 | 4 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 2 | 4 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 2 | 4 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 2 | 4 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 2 | 4 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 3 | 4 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 3 | 4 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | new_line | 3 | 4 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | reconductored_line | 3 | 4 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | new_line | 3 | 4 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | reconductored_line | 3 | 4 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | new_line | 3 | 4 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | reconductored_line | 3 | 4 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | new_line | 1 | 12.47 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | reconductored_line | 1 | 12.47 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_12_47_0 | new_line | 1 | 12.47 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_12_47_0 | reconductored_line | 1 | 12.47 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 1 | 12.47 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 1 | 12.47 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 1 | 12.47 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 1 | 12.47 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | new_line | 1 | 12.47 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | reconductored_line | 1 | 12.47 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 2 | 12.47 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 2 | 12.47 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 2 | 12.47 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 2 | 12.47 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 3 | 12.47 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 3 | 12.47 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | new_line | 3 | 12.47 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | reconductored_line | 3 | 12.47 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | new_line | 3 | 12.47 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | reconductored_line | 3 | 12.47 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | new_line | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | reconductored_line | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | new_line | 1 | 13.2 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | reconductored_line | 1 | 13.2 | 185 | overhead | 68.9231 | USD
1P_OH_AL_ACSR_1/0_Raven_13_2_0 | new_line | 1 | 13.2 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_1/0_Raven_13_2_0 | reconductored_line | 1 | 13.2 | 240 | overhead | 74.3151 | USD
1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 1 | 13.2 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 1 | 13.2 | 365 | overhead | 84.6089 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 1 | 13.2 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 1 | 13.2 | 520 | overhead | 99.3144 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | new_line | 1 | 13.2 | 660 | overhead | 111.0788 | USD
1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | reconductored_line | 1 | 13.2 | 660 | overhead | 111.0788 | USD
2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 2 | 13.2 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 2 | 13.2 | 365 | overhead | 116.4708 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 2 | 13.2 | 520 | overhead | 145.8818 | USD
2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 2 | 13.2 | 520 | overhead | 145.8818 | USD
3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 3 | 13.2 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 3 | 13.2 | 365 | overhead | 148.3328 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | new_line | 3 | 13.2 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | reconductored_line | 3 | 13.2 | 520 | overhead | 192.4493 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | new_line | 3 | 13.2 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | reconductored_line | 3 | 13.2 | 660 | overhead | 227.7424 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | new_line | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | reconductored_line | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
1P_OH_AL_AAC_#2_Iris_25_0 | new_line | 1 | 25 | 185 | overhead | 69.4132 | USD
1P_OH_AL_AAC_#2_Iris_25_0 | reconductored_line | 1 | 25 | 185 | overhead | 69.4132 | USD
1P_OH_AL_AAC_1/0_Poppy_25_0 | new_line | 1 | 25 | 245 | overhead | 74.8053 | USD
1P_OH_AL_AAC_1/0_Poppy_25_0 | reconductored_line | 1 | 25 | 245 | overhead | 74.8053 | USD
1P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 1 | 25 | 380 | overhead | 87.0598 | USD
1P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 1 | 25 | 380 | overhead | 87.0598 | USD
1P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 1 | 25 | 515 | overhead | 98.8242 | USD
1P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 1 | 25 | 515 | overhead | 98.8242 | USD
1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | new_line | 1 | 25 | 640 | overhead | 110.0984 | USD
1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | reconductored_line | 1 | 25 | 640 | overhead | 110.0984 | USD
2P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 2 | 25 | 380 | overhead | 121.3727 | USD
2P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 2 | 25 | 380 | overhead | 121.3727 | USD
2P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 2 | 25 | 515 | overhead | 144.9015 | USD
2P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 2 | 25 | 515 | overhead | 144.9015 | USD
3P_OH_AL_AAC_4/0_Oxlip_25_0 | new_line | 3 | 25 | 380 | overhead | 155.6855 | USD
3P_OH_AL_AAC_4/0_Oxlip_25_0 | reconductored_line | 3 | 25 | 380 | overhead | 155.6855 | USD
3P_OH_AL_AAC_336kcmil_Tulip_25_0 | new_line | 3 | 25 | 515 | overhead | 190.9787 | USD
3P_OH_AL_AAC_336kcmil_Tulip_25_0 | reconductored_line | 3 | 25 | 515 | overhead | 190.9787 | USD
3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | new_line | 3 | 25 | 640 | overhead | 224.8014 | USD
3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | reconductored_line | 3 | 25 | 640 | overhead | 224.8014 | USD
3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | new_line | 3 | 25 | 875 | overhead | 288.035 | USD
3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | reconductored_line | 3 | 25 | 875 | overhead | 288.035 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | new_line | 3 | 25 | 1040 | overhead | 335.0926 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | reconductored_line | 3 | 25 | 1040 | overhead | 335.0926 | USD
1P_UG_AL_1/0_Brenau_0_120_0 | new_line | 1 | 0.120 | 235 | underground | 8.2696 | USD
1P_UG_AL_1/0_Brenau_0_120_0 | reconductored_line | 1 | 0.120 | 235 | underground | 8.2696 | USD
1P_UG_AL_2/0_Converse_0_120_0 | new_line | 1 | 0.120 | 270 | underground | 8.3845 | USD
1P_UG_AL_2/0_Converse_0_120_0 | reconductored_line | 1 | 0.120 | 270 | underground | 8.3845 | USD
1P_UG_AL_4/0_Sweetbriar_0_120_0 | new_line | 1 | 0.120 | 350 | underground | 8.6635 | USD
1P_UG_AL_4/0_Sweetbriar_0_120_0 | reconductored_line | 1 | 0.120 | 350 | underground | 8.6635 | USD
3P_UG_AL_4/0_15_0_480_0 | new_line | 3 | 0.480 | 330 | underground | 10.9367 | USD
3P_UG_AL_4/0_15_0_480_0 | reconductored_line | 3 | 0.480 | 330 | underground | 10.9367 | USD
3P_UG_AL_4/0_25_0_480_0 | new_line | 3 | 0.480 | 330 | underground | 11.0599 | USD
3P_UG_AL_4/0_25_0_480_0 | reconductored_line | 3 | 0.480 | 330 | underground | 11.0599 | USD
3P_UG_AL_350kcmil_15_0_480_0 | new_line | 3 | 0.480 | 440 | underground | 11.9831 | USD
3P_UG_AL_350kcmil_15_0_480_0 | reconductored_line | 3 | 0.480 | 440 | underground | 11.9831 | USD
3P_UG_AL_350kcmil_25_0_480_0 | new_line | 3 | 0.480 | 440 | underground | 12.2293 | USD
3P_UG_AL_350kcmil_25_0_480_0 | reconductored_line | 3 | 0.480 | 440 | underground | 12.2293 | USD
3P_UG_AL_750kcmil_15_0_480_0 | new_line | 3 | 0.480 | 640 | underground | 13.8911 | USD
3P_UG_AL_750kcmil_15_0_480_0 | reconductored_line | 3 | 0.480 | 640 | underground | 13.8911 | USD
3P_UG_AL_750kcmil_25_0_480_0 | new_line | 3 | 0.480 | 640 | underground | 14.1989 | USD
3P_UG_AL_750kcmil_25_0_480_0 | reconductored_line | 3 | 0.480 | 640 | underground | 14.1989 | USD
1P_UG_AL_#2_15_4_0 | new_line | 1 | 4 | 170 | underground | 40.2902 | USD
1P_UG_AL_#2_15_4_0 | reconductored_line | 1 | 4 | 170 | underground | 40.2902 | USD
1P_UG_AL_1/0_15_4_0 | new_line | 1 | 4 | 225 | underground | 61.0215 | USD
1P_UG_AL_1/0_15_4_0 | reconductored_line | 1 | 4 | 225 | underground | 61.0215 | USD
1P_UG_AL_1/0_25_4_0 | new_line | 1 | 4 | 225 | underground | 65.7332 | USD
1P_UG_AL_1/0_25_4_0 | reconductored_line | 1 | 4 | 225 | underground | 65.7332 | USD
1P_UG_AL_4/0_15_4_0 | new_line | 1 | 4 | 330 | underground | 103.4265 | USD
1P_UG_AL_4/0_15_4_0 | reconductored_line | 1 | 4 | 330 | underground | 103.4265 | USD
1P_UG_AL_4/0_25_4_0 | new_line | 1 | 4 | 330 | underground | 108.1382 | USD
1P_UG_AL_4/0_25_4_0 | reconductored_line | 1 | 4 | 330 | underground | 108.1382 | USD
2P_OH_AL_ACSR_4/0_Penguin_4_0 | new_line | 2 | 4 | 365 | overhead | 183.6016 | USD
2P_OH_AL_ACSR_4/0_Penguin_4_0 | reconductored_line | 2 | 4 | 365 | overhead | 183.6016 | USD
3P_UG_AL_4/0_15_4_0 | new_line | 3 | 4 | 330 | underground | 247.9943 | USD
3P_UG_AL_4/0_15_4_0 | reconductored_line | 3 | 4 | 330 | underground | 247.9943 | USD
3P_UG_AL_4/0_25_4_0 | new_line | 3 | 4 | 330 | underground | 257.4177 | USD
3P_UG_AL_4/0_25_4_0 | reconductored_line | 3 | 4 | 330 | underground | 257.4177 | USD
3P_UG_AL_350kcmil_15_4_0 | new_line | 3 | 4 | 440 | underground | 328.0927 | USD
3P_UG_AL_350kcmil_15_4_0 | reconductored_line | 3 | 4 | 440 | underground | 328.0927 | USD
3P_UG_AL_350kcmil_25_4_0 | new_line | 3 | 4 | 440 | underground | 346.9393 | USD
3P_UG_AL_350kcmil_25_4_0 | reconductored_line | 3 | 4 | 440 | underground | 346.9393 | USD
3P_UG_AL_500kcmil_15_4_0 | new_line | 3 | 4 | 530 | underground | 398.7677 | USD
3P_UG_AL_500kcmil_15_4_0 | reconductored_line | 3 | 4 | 530 | underground | 398.7677 | USD
3P_UG_AL_500kcmil_25_4_0 | new_line | 3 | 4 | 530 | underground | 417.6143 | USD
3P_UG_AL_500kcmil_25_4_0 | reconductored_line | 3 | 4 | 530 | underground | 417.6143 | USD
3P_UG_AL_750kcmil_15_4_0 | new_line | 3 | 4 | 640 | underground | 474.1543 | USD
3P_UG_AL_750kcmil_15_4_0 | reconductored_line | 3 | 4 | 640 | underground | 474.1543 | USD
3P_UG_AL_750kcmil_25_4_0 | new_line | 3 | 4 | 640 | underground | 497.7127 | USD
3P_UG_AL_750kcmil_25_4_0 | reconductored_line | 3 | 4 | 640 | underground | 497.7127 | USD
3P_UG_AL_1000mcm_15_4_0 | new_line | 3 | 4 | 730 | underground | 521.271 | USD
3P_UG_AL_1000mcm_15_4_0 | reconductored_line | 3 | 4 | 730 | underground | 521.271 | USD
3P_UG_AL_1000mcm_69_4_0 | new_line | 3 | 4 | 730 | underground | 554.2527 | USD
3P_UG_AL_1000mcm_69_4_0 | reconductored_line | 3 | 4 | 730 | underground | 554.2527 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | new_line | 3 | 4 | 1040 | overhead | 884.0655 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | reconductored_line | 3 | 4 | 1040 | overhead | 884.0655 | USD
1P_UG_AL_#2_15_12_47_0 | new_line | 1 | 12.47 | 170 | underground | 40.2902 | USD
1P_UG_AL_#2_15_12_47_0 | reconductored_line | 1 | 12.47 | 170 | underground | 40.2902 | USD
1P_UG_AL_1/0_15_12_47_0 | new_line | 1 | 12.47 | 225 | underground | 61.0215 | USD
1P_UG_AL_1/0_15_12_47_0 | reconductored_line | 1 | 12.47 | 225 | underground | 61.0215 | USD
1P_UG_AL_1/0_25_12_47_0 | new_line | 1 | 12.47 | 225 | underground | 65.7332 | USD
1P_UG_AL_1/0_25_12_47_0 | reconductored_line | 1 | 12.47 | 225 | underground | 65.7332 | USD
1P_UG_AL_4/0_15_12_47_0 | new_line | 1 | 12.47 | 330 | underground | 103.4265 | USD
1P_UG_AL_4/0_15_12_47_0 | reconductored_line | 1 | 12.47 | 330 | underground | 103.4265 | USD
1P_UG_AL_4/0_25_12_47_0 | new_line | 1 | 12.47 | 330 | underground | 108.1382 | USD
1P_UG_AL_4/0_25_12_47_0 | reconductored_line | 1 | 12.47 | 330 | underground | 108.1382 | USD
2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | new_line | 2 | 12.47 | 365 | overhead | 183.6016 | USD
2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | reconductored_line | 2 | 12.47 | 365 | overhead | 183.6016 | USD
3P_UG_AL_4/0_25_12_47_0 | new_line | 3 | 12.47 | 330 | underground | 257.4177 | USD
3P_UG_AL_4/0_25_12_47_0 | reconductored_line | 3 | 12.47 | 330 | underground | 257.4177 | USD
3P_UG_AL_350kcmil_15_12_47_0 | new_line | 3 | 12.47 | 440 | underground | 328.0927 | USD
3P_UG_AL_350kcmil_15_12_47_0 | reconductored_line | 3 | 12.47 | 440 | underground | 328.0927 | USD
3P_UG_AL_350kcmil_25_12_47_0 | new_line | 3 | 12.47 | 440 | underground | 346.9393 | USD
3P_UG_AL_350kcmil_25_12_47_0 | reconductored_line | 3 | 12.47 | 440 | underground | 346.9393 | USD
3P_UG_AL_500kcmil_15_12_47_0 | new_line | 3 | 12.47 | 530 | underground | 398.7677 | USD
3P_UG_AL_500kcmil_15_12_47_0 | reconductored_line | 3 | 12.47 | 530 | underground | 398.7677 | USD
3P_UG_AL_500kcmil_25_12_47_0 | new_line | 3 | 12.47 | 530 | underground | 417.6143 | USD
3P_UG_AL_500kcmil_25_12_47_0 | reconductored_line | 3 | 12.47 | 530 | underground | 417.6143 | USD
3P_UG_AL_750kcmil_15_12_47_0 | new_line | 3 | 12.47 | 640 | underground | 474.1543 | USD
3P_UG_AL_750kcmil_15_12_47_0 | reconductored_line | 3 | 12.47 | 640 | underground | 474.1543 | USD
3P_UG_AL_750kcmil_25_12_47_0 | new_line | 3 | 12.47 | 640 | underground | 497.7127 | USD
3P_UG_AL_750kcmil_25_12_47_0 | reconductored_line | 3 | 12.47 | 640 | underground | 497.7127 | USD
3P_UG_AL_1000mcm_15_12_47_0 | new_line | 3 | 12.47 | 730 | underground | 521.271 | USD
3P_UG_AL_1000mcm_15_12_47_0 | reconductored_line | 3 | 12.47 | 730 | underground | 521.271 | USD
3P_UG_AL_1000mcm_69_12_47_0 | new_line | 3 | 12.47 | 730 | underground | 554.2527 | USD
3P_UG_AL_1000mcm_69_12_47_0 | reconductored_line | 3 | 12.47 | 730 | underground | 554.2527 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | new_line | 3 | 12.47 | 1040 | overhead | 884.0655 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | reconductored_line | 3 | 12.47 | 1040 | overhead | 884.0655 | USD
1P_UG_AL_#2_15_13_2_0 | new_line | 1 | 13.2 | 170 | underground | 40.2902 | USD
1P_UG_AL_#2_15_13_2_0 | reconductored_line | 1 | 13.2 | 170 | underground | 40.2902 | USD
1P_UG_AL_1/0_15_13_2_0 | new_line | 1 | 13.2 | 225 | underground | 61.0215 | USD
1P_UG_AL_1/0_15_13_2_0 | reconductored_line | 1 | 13.2 | 225 | underground | 61.0215 | USD
1P_UG_AL_1/0_25_13_2_0 | new_line | 1 | 13.2 | 225 | underground | 65.7332 | USD
1P_UG_AL_1/0_25_13_2_0 | reconductored_line | 1 | 13.2 | 225 | underground | 65.7332 | USD
1P_UG_AL_4/0_15_13_2_0 | new_line | 1 | 13.2 | 330 | underground | 103.4265 | USD
1P_UG_AL_4/0_15_13_2_0 | reconductored_line | 1 | 13.2 | 330 | underground | 103.4265 | USD
1P_UG_AL_4/0_25_13_2_0 | new_line | 1 | 13.2 | 330 | underground | 108.1382 | USD
1P_UG_AL_4/0_25_13_2_0 | reconductored_line | 1 | 13.2 | 330 | underground | 108.1382 | USD
2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | new_line | 2 | 13.2 | 365 | overhead | 183.6016 | USD
2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | reconductored_line | 2 | 13.2 | 365 | overhead | 183.6016 | USD
3P_UG_AL_4/0_15_13_2_0 | new_line | 3 | 13.2 | 330 | underground | 247.9943 | USD
3P_UG_AL_4/0_15_13_2_0 | reconductored_line | 3 | 13.2 | 330 | underground | 247.9943 | USD
3P_UG_AL_4/0_25_13_2_0 | new_line | 3 | 13.2 | 330 | underground | 257.4177 | USD
3P_UG_AL_4/0_25_13_2_0 | reconductored_line | 3 | 13.2 | 330 | underground | 257.4177 | USD
3P_UG_AL_350kcmil_15_13_2_0 | new_line | 3 | 13.2 | 440 | underground | 328.0927 | USD
3P_UG_AL_350kcmil_15_13_2_0 | reconductored_line | 3 | 13.2 | 440 | underground | 328.0927 | USD
3P_UG_AL_350kcmil_25_13_2_0 | new_line | 3 | 13.2 | 440 | underground | 346.9393 | USD
3P_UG_AL_350kcmil_25_13_2_0 | reconductored_line | 3 | 13.2 | 440 | underground | 346.9393 | USD
3P_UG_AL_500kcmil_15_13_2_0 | new_line | 3 | 13.2 | 530 | underground | 398.7677 | USD
3P_UG_AL_500kcmil_15_13_2_0 | reconductored_line | 3 | 13.2 | 530 | underground | 398.7677 | USD
3P_UG_AL_500kcmil_25_13_2_0 | new_line | 3 | 13.2 | 530 | underground | 417.6143 | USD
3P_UG_AL_500kcmil_25_13_2_0 | reconductored_line | 3 | 13.2 | 530 | underground | 417.6143 | USD
3P_UG_AL_750kcmil_15_13_2_0 | new_line | 3 | 13.2 | 640 | underground | 474.1543 | USD
3P_UG_AL_750kcmil_15_13_2_0 | reconductored_line | 3 | 13.2 | 640 | underground | 474.1543 | USD
3P_UG_AL_750kcmil_25_13_2_0 | new_line | 3 | 13.2 | 640 | underground | 497.7127 | USD
3P_UG_AL_750kcmil_25_13_2_0 | reconductored_line | 3 | 13.2 | 640 | underground | 497.7127 | USD
3P_UG_AL_1000mcm_15_13_2_0 | new_line | 3 | 13.2 | 730 | underground | 521.271 | USD
3P_UG_AL_1000mcm_15_13_2_0 | reconductored_line | 3 | 13.2 | 730 | underground | 521.271 | USD
3P_UG_AL_1000mcm_69_13_2_0 | new_line | 3 | 13.2 | 730 | underground | 554.2527 | USD
3P_UG_AL_1000mcm_69_13_2_0 | reconductored_line | 3 | 13.2 | 730 | underground | 554.2527 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | new_line | 3 | 13.2 | 1040 | overhead | 884.0655 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | reconductored_line | 3 | 13.2 | 1040 | overhead | 884.0655 | USD
1P_UG_AL_1/0_25_25_0 | new_line | 1 | 25 | 225 | underground | 65.7332 | USD
1P_UG_AL_1/0_25_25_0 | reconductored_line | 1 | 25 | 225 | underground | 65.7332 | USD
1P_UG_AL_4/0_25_25_0 | new_line | 1 | 25 | 330 | underground | 108.1382 | USD
1P_UG_AL_4/0_25_25_0 | reconductored_line | 1 | 25 | 330 | underground | 108.1382 | USD
2P_OH_AL_ACSR_4/0_Penguin_25_0 | new_line | 2 | 25 | 365 | overhead | 183.6016 | USD
2P_OH_AL_ACSR_4/0_Penguin_25_0 | reconductored_line | 2 | 25 | 365 | overhead | 183.6016 | USD
3P_UG_AL_4/0_25_25_0 | new_line | 3 | 25 | 330 | underground | 257.4177 | USD
3P_UG_AL_4/0_25_25_0 | reconductored_line | 3 | 25 | 330 | underground | 257.4177 | USD
3P_UG_AL_350kcmil_25_25_0 | new_line | 3 | 25 | 440 | underground | 346.9393 | USD
3P_UG_AL_350kcmil_25_25_0 | reconductored_line | 3 | 25 | 440 | underground | 346.9393 | USD
3P_UG_AL_500kcmil_25_25_0 | new_line | 3 | 25 | 530 | underground | 417.6143 | USD
3P_UG_AL_500kcmil_25_25_0 | reconductored_line | 3 | 25 | 530 | underground | 417.6143 | USD
3P_UG_AL_750kcmil_25_25_0 | new_line | 3 | 25 | 640 | underground | 497.7127 | USD
3P_UG_AL_750kcmil_25_25_0 | reconductored_line | 3 | 25 | 640 | underground | 497.7127 | USD
3P_UG_AL_1000mcm_69_25_0 | new_line | 3 | 25 | 730 | underground | 554.2527 | USD
3P_UG_AL_1000mcm_69_25_0 | reconductored_line | 3 | 25 | 730 | underground | 554.2527 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | new_line | 3 | 25 | 1040 | overhead | 884.0655 | USD
3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | reconductored_line | 3 | 25 | 1040 | overhead | 884.0655 | USD

## transformers
phases | primary_kV | secondary_kV | num_windings | primary_connection_type | secondary_connection_type | rated_kVA | cost | cost_units
3 | 230 | 69 | 2 | wye | wye | 300000 | 6953904 | USD/unit
3 | 230 | 69 | 2 | wye | wye | 800000 | 14133744 | USD/unit
3 | 230 | 69 | 2 | wye | wye | 1300000 | 23203584 | USD/unit
3 | 230 | 69 | 2 | wye | wye | 300000 | 6953904 | USD/unit
3 | 230 | 69 | 2 | wye | wye | 800000 | 14133744 | USD/unit
3 | 230 | 69 | 2 | wye | wye | 1300000 | 23203584 | USD/unit
3 | 69 | 4 | 2 | wye | wye | 8000 | 1020087.091 | USD/unit
3 | 69 | 4 | 2 | wye | wye | 16000 | 1912663.296 | USD/unit
3 | 69 | 4 | 2 | wye | wye | 30000 | 3586243.68 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 16000 | 1912663.296 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 30000 | 3586243.68 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 40000 | 4781658.24 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 50000 | 5977072.8 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 60000 | 7172487.36 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 80000 | 9563316.48 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 16000 | 1912663.296 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 30000 | 3586243.68 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 40000 | 4781658.24 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 50000 | 5977072.8 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 60000 | 7172487.36 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 80000 | 9563316.48 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 16000 | 1912663.296 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 30000 | 3586243.68 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 40000 | 4781658.24 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 50000 | 5977072.8 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 60000 | 7172487.36 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 80000 | 9563316.48 | USD/unit
3 | 69 | 4 | 2 | wye | wye | 8000 | 1020087.091 | USD/unit
3 | 69 | 4 | 2 | wye | wye | 16000 | 1912663.296 | USD/unit
3 | 69 | 4 | 2 | wye | wye | 30000 | 3586243.68 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 16000 | 1912663.296 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 30000 | 3586243.68 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 40000 | 4781658.24 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 50000 | 5977072.8 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 60000 | 7172487.36 | USD/unit
3 | 69 | 12.47 | 2 | wye | wye | 80000 | 9563316.48 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 16000 | 1912663.296 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 30000 | 3586243.68 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 40000 | 4781658.24 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 50000 | 5977072.8 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 60000 | 7172487.36 | USD/unit
3 | 69 | 13.2 | 2 | wye | wye | 80000 | 9563316.48 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 16000 | 1912663.296 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 30000 | 3586243.68 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 40000 | 4781658.24 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 50000 | 5977072.8 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 60000 | 7172487.36 | USD/unit
3 | 69 | 25 | 2 | wye | wye | 80000 | 9563316.48 | USD/unit
1 | 4 | 0.120 | 3 | wye | wye | 10 | 2400 | USD/unit
1 | 4 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
1 | 4 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
1 | 4 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 75 | 35175 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 100 | 36975 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 150 | 38625 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 300 | 47100 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 500 | 55875 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 1000 | 69600 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 1500 | 95000 | USD/unit
1 | 12.47 | 0.120 | 3 | wye | wye | 10 | 2400 | USD/unit
1 | 12.47 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
1 | 12.47 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
1 | 12.47 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 75 | 35175 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 100 | 36975 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 150 | 38625 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 300 | 47100 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 500 | 55875 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 1000 | 69600 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 1500 | 95000 | USD/unit
1 | 13.2 | 0.120 | 3 | wye | wye | 10 | 2400 | USD/unit
1 | 13.2 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
1 | 13.2 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
1 | 13.2 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 75 | 35175 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 100 | 36975 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 150 | 38625 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 300 | 47100 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 500 | 55875 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 1000 | 69600 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 1500 | 95000 | USD/unit
1 | 25 | 0.120 | 3 | wye | wye | 10 | 2400 | USD/unit
1 | 25 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
1 | 25 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
1 | 25 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 75 | 35175 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 100 | 36975 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 150 | 38625 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 300 | 47100 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 500 | 55875 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 1000 | 69600 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 1500 | 95000 | USD/unit
1 | 4 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
1 | 4 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
1 | 4 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 75 | 35175 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 100 | 36975 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 150 | 38625 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 300 | 47100 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 500 | 55875 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 1000 | 69600 | USD/unit
3 | 4 | 0.480 | 2 | wye | wye | 1500 | 95000 | USD/unit
1 | 12.47 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
1 | 12.47 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
1 | 12.47 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 75 | 35175 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 100 | 36975 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 150 | 38625 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 300 | 47100 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 500 | 55875 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 1000 | 69600 | USD/unit
3 | 12.47 | 0.480 | 2 | wye | wye | 1500 | 95000 | USD/unit
1 | 13.2 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
1 | 13.2 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
1 | 13.2 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 75 | 35175 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 100 | 36975 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 150 | 38625 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 300 | 47100 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 500 | 55875 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 1000 | 69600 | USD/unit
3 | 13.2 | 0.480 | 2 | wye | wye | 1500 | 95000 | USD/unit
1 | 25 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
1 | 25 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
1 | 25 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 75 | 35175 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 100 | 36975 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 150 | 38625 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 300 | 47100 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 500 | 55875 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 1000 | 69600 | USD/unit
3 | 25 | 0.480 | 2 | wye | wye | 1500 | 95000 | USD/unit

## control_changes
type | cost | cost_units
Change LTC settings | 500 | USD/unit
Add new LTC controller | 15000 | USD/unit
Change voltage regulator controller settings | 500 | USD/unit
Add new voltage regulator controller | 15000 | USD/unit
Replace voltage regulator controller | 3500 | USD/unit
Change capacitor controller settings | 2000 | USD/unit
Replace capacitor controller | 3500 | USD/unit

## voltage_regulators
type | phases | primary_kV | secondary_kV | num_windings | primary_connection_type | secondary_connection_type | rated_kVA | cost | cost_units
Add new voltage regulator transformer | 3 | 25 | 25 | 2 | wye | wye | 10000 | 220000 | USD/unit
Add new voltage regulator transformer | 3 | 12.47 | 12.47 | 2 | wye | wye | 10000 | 150000 | USD/unit

## misc
description | total_cost | cost_units
Replace transformer (fixed cost) | 1 | USD/unit
Add new transformer (fixed cost) | 2 | USD/unit