## lines
| Description | phases | voltage_kV | ampere_rating | line_placement | cost_per_m | cost_units
0 | 1P_OH_AL_4_Periwinkle_0_120_0 | 1 | 0.120 | 145 | overhead | 7.0449 | USD
1 | 1P_OH_AL_1/0_Neritina_0_120_0 | 1 | 0.120 | 260 | overhead | 8.7314 | USD
2 | 1P_OH_AL_2/0_Rucina_0_120_0 | 1 | 0.120 | 300 | overhead | 9.5303 | USD
3 | 1P_OH_AL_4/0_Zuzara_0_120_0 | 1 | 0.120 | 405 | overhead | 11.0394 | USD
4 | 3P_UG_AL_4/0_15_0_480_0 | 3 | 0.480 | 330 | underground | 10.9367 | USD
5 | 3P_UG_AL_4/0_25_0_480_0 | 3 | 0.480 | 330 | underground | 11.0599 | USD
6 | 3P_UG_AL_350kcmil_15_0_480_0 | 3 | 0.480 | 440 | underground | 11.9831 | USD
7 | 3P_UG_AL_350kcmil_25_0_480_0 | 3 | 0.480 | 440 | underground | 12.2293 | USD
8 | 3P_UG_AL_750kcmil_15_0_480_0 | 3 | 0.480 | 640 | underground | 13.8911 | USD
9 | 3P_UG_AL_750kcmil_25_0_480_0 | 3 | 0.480 | 640 | underground | 14.1989 | USD
10 | 1P_OH_AL_ACSR_#2_Sparrow_4_0 | 1 | 4 | 185 | overhead | 68.9231 | USD
11 | 1P_OH_AL_ACSR_1/0_Raven_4_0 | 1 | 4 | 240 | overhead | 74.3151 | USD
12 | 1P_OH_AL_ACSR_4/0_Penguin_4_0 | 1 | 4 | 365 | overhead | 84.6089 | USD
13 | 1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 1 | 4 | 520 | overhead | 99.3144 | USD
14 | 1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | 1 | 4 | 660 | overhead | 111.0788 | USD
15 | 2P_OH_AL_ACSR_4/0_Penguin_4_0 | 2 | 4 | 365 | overhead | 116.4708 | USD
16 | 2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 2 | 4 | 520 | overhead | 145.8818 | USD
17 | 3P_OH_AL_ACSR_4/0_Penguin_4_0 | 3 | 4 | 365 | overhead | 148.3328 | USD
18 | 3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 3 | 4 | 520 | overhead | 192.4493 | USD
19 | 3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | 3 | 4 | 660 | overhead | 227.7424 | USD
20 | 3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | 3 | 4 | 1040 | overhead | 335.0926 | USD
21 | 1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | 1 | 12.47 | 185 | overhead | 68.9231 | USD
22 | 1P_OH_AL_ACSR_1/0_Raven_12_47_0 | 1 | 12.47 | 240 | overhead | 74.3151 | USD
23 | 1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 1 | 12.47 | 365 | overhead | 84.6089 | USD
24 | 1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 1 | 12.47 | 520 | overhead | 99.3144 | USD
25 | 1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | 1 | 12.47 | 660 | overhead | 111.0788 | USD
26 | 2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 2 | 12.47 | 365 | overhead | 116.4708 | USD
27 | 2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 2 | 12.47 | 520 | overhead | 145.8818 | USD
28 | 3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 3 | 12.47 | 365 | overhead | 148.3328 | USD
29 | 3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 3 | 12.47 | 520 | overhead | 192.4493 | USD
30 | 3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | 3 | 12.47 | 660 | overhead | 227.7424 | USD
31 | 3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
32 | 1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | 1 | 13.2 | 185 | overhead | 68.9231 | USD
33 | 1P_OH_AL_ACSR_1/0_Raven_13_2_0 | 1 | 13.2 | 240 | overhead | 74.3151 | USD
34 | 1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 1 | 13.2 | 365 | overhead | 84.6089 | USD
35 | 1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 1 | 13.2 | 520 | overhead | 99.3144 | USD
36 | 1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | 1 | 13.2 | 660 | overhead | 111.0788 | USD
37 | 2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 2 | 13.2 | 365 | overhead | 116.4708 | USD
38 | 2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 2 | 13.2 | 520 | overhead | 145.8818 | USD
39 | 3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 3 | 13.2 | 365 | overhead | 148.3328 | USD
40 | 3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 3 | 13.2 | 520 | overhead | 192.4493 | USD
41 | 3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | 3 | 13.2 | 660 | overhead | 227.7424 | USD
42 | 3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
43 | 1P_OH_AL_AAC_#2_Iris_25_0 | 1 | 25 | 185 | overhead | 69.4132 | USD
44 | 1P_OH_AL_AAC_1/0_Poppy_25_0 | 1 | 25 | 245 | overhead | 74.8053 | USD
45 | 1P_OH_AL_AAC_4/0_Oxlip_25_0 | 1 | 25 | 380 | overhead | 87.0598 | USD
46 | 1P_OH_AL_AAC_336kcmil_Tulip_25_0 | 1 | 25 | 515 | overhead | 98.8242 | USD
47 | 1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | 1 | 25 | 640 | overhead | 110.0984 | USD
48 | 2P_OH_AL_AAC_4/0_Oxlip_25_0 | 2 | 25 | 380 | overhead | 121.3727 | USD
49 | 2P_OH_AL_AAC_336kcmil_Tulip_25_0 | 2 | 25 | 515 | overhead | 144.9015 | USD
50 | 3P_OH_AL_AAC_4/0_Oxlip_25_0 | 3 | 25 | 380 | overhead | 155.6855 | USD
51 | 3P_OH_AL_AAC_336kcmil_Tulip_25_0 | 3 | 25 | 515 | overhead | 190.9787 | USD
52 | 3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | 3 | 25 | 640 | overhead | 224.8014 | USD
53 | 3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | 3 | 25 | 875 | overhead | 288.035 | USD
54 | 3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | 3 | 25 | 1040 | overhead | 335.0926 | USD
55 | 1P_OH_AL_4_Periwinkle_0_120_0 | 1 | 0.120 | 145 | overhead | 7.0449 | USD
56 | 1P_OH_AL_1/0_Neritina_0_120_0 | 1 | 0.120 | 260 | overhead | 8.7314 | USD
57 | 1P_OH_AL_2/0_Rucina_0_120_0 | 1 | 0.120 | 300 | overhead | 9.5303 | USD
58 | 1P_OH_AL_4/0_Zuzara_0_120_0 | 1 | 0.120 | 405 | overhead | 11.0394 | USD
59 | 3P_UG_AL_4/0_15_0_480_0 | 3 | 0.480 | 330 | underground | 10.9367 | USD
60 | 3P_UG_AL_4/0_25_0_480_0 | 3 | 0.480 | 330 | underground | 11.0599 | USD
61 | 3P_UG_AL_350kcmil_15_0_480_0 | 3 | 0.480 | 440 | underground | 11.9831 | USD
62 | 3P_UG_AL_350kcmil_25_0_480_0 | 3 | 0.480 | 440 | underground | 12.2293 | USD
63 | 3P_UG_AL_750kcmil_15_0_480_0 | 3 | 0.480 | 640 | underground | 13.8911 | USD
64 | 3P_UG_AL_750kcmil_25_0_480_0 | 3 | 0.480 | 640 | underground | 14.1989 | USD
65 | 1P_OH_AL_ACSR_#2_Sparrow_4_0 | 1 | 4 | 185 | overhead | 68.9231 | USD
66 | 1P_OH_AL_ACSR_1/0_Raven_4_0 | 1 | 4 | 240 | overhead | 74.3151 | USD
67 | 1P_OH_AL_ACSR_4/0_Penguin_4_0 | 1 | 4 | 365 | overhead | 84.6089 | USD
68 | 1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 1 | 4 | 520 | overhead | 99.3144 | USD
69 | 1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | 1 | 4 | 660 | overhead | 111.0788 | USD
70 | 2P_OH_AL_ACSR_4/0_Penguin_4_0 | 2 | 4 | 365 | overhead | 116.4708 | USD
71 | 2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 2 | 4 | 520 | overhead | 145.8818 | USD
72 | 3P_OH_AL_ACSR_4/0_Penguin_4_0 | 3 | 4 | 365 | overhead | 148.3328 | USD
73 | 3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 3 | 4 | 520 | overhead | 192.4493 | USD
74 | 3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | 3 | 4 | 660 | overhead | 227.7424 | USD
75 | 3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | 3 | 4 | 1040 | overhead | 335.0926 | USD
76 | 1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | 1 | 12.47 | 185 | overhead | 68.9231 | USD
77 | 1P_OH_AL_ACSR_1/0_Raven_12_47_0 | 1 | 12.47 | 240 | overhead | 74.3151 | USD
78 | 1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 1 | 12.47 | 365 | overhead | 84.6089 | USD
79 | 1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 1 | 12.47 | 520 | overhead | 99.3144 | USD
80 | 1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | 1 | 12.47 | 660 | overhead | 111.0788 | USD
81 | 2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 2 | 12.47 | 365 | overhead | 116.4708 | USD
82 | 2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 2 | 12.47 | 520 | overhead | 145.8818 | USD
83 | 3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 3 | 12.47 | 365 | overhead | 148.3328 | USD
84 | 3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 3 | 12.47 | 520 | overhead | 192.4493 | USD
85 | 3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | 3 | 12.47 | 660 | overhead | 227.7424 | USD
86 | 3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
87 | 1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | 1 | 13.2 | 185 | overhead | 68.9231 | USD
88 | 1P_OH_AL_ACSR_1/0_Raven_13_2_0 | 1 | 13.2 | 240 | overhead | 74.3151 | USD
89 | 1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 1 | 13.2 | 365 | overhead | 84.6089 | USD
90 | 1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 1 | 13.2 | 520 | overhead | 99.3144 | USD
91 | 1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | 1 | 13.2 | 660 | overhead | 111.0788 | USD
92 | 2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 2 | 13.2 | 365 | overhead | 116.4708 | USD
93 | 2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 2 | 13.2 | 520 | overhead | 145.8818 | USD
94 | 3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 3 | 13.2 | 365 | overhead | 148.3328 | USD
95 | 3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 3 | 13.2 | 520 | overhead | 192.4493 | USD
96 | 3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | 3 | 13.2 | 660 | overhead | 227.7424 | USD
97 | 3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
98 | 1P_OH_AL_AAC_#2_Iris_25_0 | 1 | 25 | 185 | overhead | 69.4132 | USD
99 | 1P_OH_AL_AAC_1/0_Poppy_25_0 | 1 | 25 | 245 | overhead | 74.8053 | USD
100 | 1P_OH_AL_AAC_4/0_Oxlip_25_0 | 1 | 25 | 380 | overhead | 87.0598 | USD
101 | 1P_OH_AL_AAC_336kcmil_Tulip_25_0 | 1 | 25 | 515 | overhead | 98.8242 | USD
102 | 1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | 1 | 25 | 640 | overhead | 110.0984 | USD
103 | 2P_OH_AL_AAC_4/0_Oxlip_25_0 | 2 | 25 | 380 | overhead | 121.3727 | USD
104 | 2P_OH_AL_AAC_336kcmil_Tulip_25_0 | 2 | 25 | 515 | overhead | 144.9015 | USD
105 | 3P_OH_AL_AAC_4/0_Oxlip_25_0 | 3 | 25 | 380 | overhead | 155.6855 | USD
106 | 3P_OH_AL_AAC_336kcmil_Tulip_25_0 | 3 | 25 | 515 | overhead | 190.9787 | USD
107 | 3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | 3 | 25 | 640 | overhead | 224.8014 | USD
108 | 3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | 3 | 25 | 875 | overhead | 288.035 | USD
109 | 3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | 3 | 25 | 1040 | overhead | 335.0926 | USD
110 | 1P_OH_AL_4_Periwinkle_0_120_0 | 1 | 0.120 | 145 | overhead | 7.0449 | USD
111 | 1P_OH_AL_1/0_Neritina_0_120_0 | 1 | 0.120 | 260 | overhead | 8.7314 | USD
112 | 1P_OH_AL_2/0_Rucina_0_120_0 | 1 | 0.120 | 300 | overhead | 9.5303 | USD
113 | 1P_OH_AL_4/0_Zuzara_0_120_0 | 1 | 0.120 | 405 | overhead | 11.0394 | USD
114 | 3P_UG_AL_4/0_15_0_480_0 | 3 | 0.480 | 330 | underground | 10.9367 | USD
115 | 3P_UG_AL_4/0_25_0_480_0 | 3 | 0.480 | 330 | underground | 11.0599 | USD
116 | 3P_UG_AL_350kcmil_15_0_480_0 | 3 | 0.480 | 440 | underground | 11.9831 | USD
117 | 3P_UG_AL_350kcmil_25_0_480_0 | 3 | 0.480 | 440 | underground | 12.2293 | USD
118 | 3P_UG_AL_750kcmil_15_0_480_0 | 3 | 0.480 | 640 | underground | 13.8911 | USD
119 | 3P_UG_AL_750kcmil_25_0_480_0 | 3 | 0.480 | 640 | underground | 14.1989 | USD
120 | 1P_OH_AL_ACSR_#2_Sparrow_4_0 | 1 | 4 | 185 | overhead | 68.9231 | USD
121 | 1P_OH_AL_ACSR_1/0_Raven_4_0 | 1 | 4 | 240 | overhead | 74.3151 | USD
122 | 1P_OH_AL_ACSR_4/0_Penguin_4_0 | 1 | 4 | 365 | overhead | 84.6089 | USD
123 | 1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 1 | 4 | 520 | overhead | 99.3144 | USD
124 | 1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | 1 | 4 | 660 | overhead | 111.0788 | USD
125 | 2P_OH_AL_ACSR_4/0_Penguin_4_0 | 2 | 4 | 365 | overhead | 116.4708 | USD
126 | 2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 2 | 4 | 520 | overhead | 145.8818 | USD
127 | 3P_OH_AL_ACSR_4/0_Penguin_4_0 | 3 | 4 | 365 | overhead | 148.3328 | USD
128 | 3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 3 | 4 | 520 | overhead | 192.4493 | USD
129 | 3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | 3 | 4 | 660 | overhead | 227.7424 | USD
130 | 3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | 3 | 4 | 1040 | overhead | 335.0926 | USD
131 | 1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | 1 | 12.47 | 185 | overhead | 68.9231 | USD
132 | 1P_OH_AL_ACSR_1/0_Raven_12_47_0 | 1 | 12.47 | 240 | overhead | 74.3151 | USD
133 | 1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 1 | 12.47 | 365 | overhead | 84.6089 | USD
134 | 1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 1 | 12.47 | 520 | overhead | 99.3144 | USD
135 | 1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | 1 | 12.47 | 660 | overhead | 111.0788 | USD
136 | 2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 2 | 12.47 | 365 | overhead | 116.4708 | USD
137 | 2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 2 | 12.47 | 520 | overhead | 145.8818 | USD
138 | 3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 3 | 12.47 | 365 | overhead | 148.3328 | USD
139 | 3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 3 | 12.47 | 520 | overhead | 192.4493 | USD
140 | 3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | 3 | 12.47 | 660 | overhead | 227.7424 | USD
141 | 3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
142 | 1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | 1 | 13.2 | 185 | overhead | 68.9231 | USD
143 | 1P_OH_AL_ACSR_1/0_Raven_13_2_0 | 1 | 13.2 | 240 | overhead | 74.3151 | USD
144 | 1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 1 | 13.2 | 365 | overhead | 84.6089 | USD
145 | 1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 1 | 13.2 | 520 | overhead | 99.3144 | USD
146 | 1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | 1 | 13.2 | 660 | overhead | 111.0788 | USD
147 | 2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 2 | 13.2 | 365 | overhead | 116.4708 | USD
148 | 2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 2 | 13.2 | 520 | overhead | 145.8818 | USD
149 | 3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 3 | 13.2 | 365 | overhead | 148.3328 | USD
150 | 3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 3 | 13.2 | 520 | overhead | 192.4493 | USD
151 | 3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | 3 | 13.2 | 660 | overhead | 227.7424 | USD
152 | 3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
153 | 1P_OH_AL_AAC_#2_Iris_25_0 | 1 | 25 | 185 | overhead | 69.4132 | USD
154 | 1P_OH_AL_AAC_1/0_Poppy_25_0 | 1 | 25 | 245 | overhead | 74.8053 | USD
155 | 1P_OH_AL_AAC_4/0_Oxlip_25_0 | 1 | 25 | 380 | overhead | 87.0598 | USD
156 | 1P_OH_AL_AAC_336kcmil_Tulip_25_0 | 1 | 25 | 515 | overhead | 98.8242 | USD
157 | 1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | 1 | 25 | 640 | overhead | 110.0984 | USD
158 | 2P_OH_AL_AAC_4/0_Oxlip_25_0 | 2 | 25 | 380 | overhead | 121.3727 | USD
159 | 2P_OH_AL_AAC_336kcmil_Tulip_25_0 | 2 | 25 | 515 | overhead | 144.9015 | USD
160 | 3P_OH_AL_AAC_4/0_Oxlip_25_0 | 3 | 25 | 380 | overhead | 155.6855 | USD
161 | 3P_OH_AL_AAC_336kcmil_Tulip_25_0 | 3 | 25 | 515 | overhead | 190.9787 | USD
162 | 3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | 3 | 25 | 640 | overhead | 224.8014 | USD
163 | 3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | 3 | 25 | 875 | overhead | 288.035 | USD
164 | 3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | 3 | 25 | 1040 | overhead | 335.0926 | USD
165 | 1P_OH_AL_4_Periwinkle_0_120_0 | 1 | 0.120 | 145 | overhead | 7.0449 | USD
166 | 1P_OH_AL_1/0_Neritina_0_120_0 | 1 | 0.120 | 260 | overhead | 8.7314 | USD
167 | 1P_OH_AL_2/0_Rucina_0_120_0 | 1 | 0.120 | 300 | overhead | 9.5303 | USD
168 | 1P_OH_AL_4/0_Zuzara_0_120_0 | 1 | 0.120 | 405 | overhead | 11.0394 | USD
169 | 3P_UG_AL_4/0_15_0_480_0 | 3 | 0.480 | 330 | underground | 10.9367 | USD
170 | 3P_UG_AL_4/0_25_0_480_0 | 3 | 0.480 | 330 | underground | 11.0599 | USD
171 | 3P_UG_AL_350kcmil_15_0_480_0 | 3 | 0.480 | 440 | underground | 11.9831 | USD
172 | 3P_UG_AL_350kcmil_25_0_480_0 | 3 | 0.480 | 440 | underground | 12.2293 | USD
173 | 3P_UG_AL_750kcmil_15_0_480_0 | 3 | 0.480 | 640 | underground | 13.8911 | USD
174 | 3P_UG_AL_750kcmil_25_0_480_0 | 3 | 0.480 | 640 | underground | 14.1989 | USD
175 | 1P_OH_AL_ACSR_#2_Sparrow_4_0 | 1 | 4 | 185 | overhead | 68.9231 | USD
176 | 1P_OH_AL_ACSR_1/0_Raven_4_0 | 1 | 4 | 240 | overhead | 74.3151 | USD
177 | 1P_OH_AL_ACSR_4/0_Penguin_4_0 | 1 | 4 | 365 | overhead | 84.6089 | USD
178 | 1P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 1 | 4 | 520 | overhead | 99.3144 | USD
179 | 1P_OH_AL_ACSR_477kcmil_Hawk_4_0 | 1 | 4 | 660 | overhead | 111.0788 | USD
180 | 2P_OH_AL_ACSR_4/0_Penguin_4_0 | 2 | 4 | 365 | overhead | 116.4708 | USD
181 | 2P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 2 | 4 | 520 | overhead | 145.8818 | USD
182 | 3P_OH_AL_ACSR_4/0_Penguin_4_0 | 3 | 4 | 365 | overhead | 148.3328 | USD
183 | 3P_OH_AL_ACSR_336kcmil_Merlin_4_0 | 3 | 4 | 520 | overhead | 192.4493 | USD
184 | 3P_OH_AL_ACSR_477kcmil_Hawk_4_0 | 3 | 4 | 660 | overhead | 227.7424 | USD
185 | 3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | 3 | 4 | 1040 | overhead | 335.0926 | USD
186 | 1P_OH_AL_ACSR_#2_Sparrow_12_47_0 | 1 | 12.47 | 185 | overhead | 68.9231 | USD
187 | 1P_OH_AL_ACSR_1/0_Raven_12_47_0 | 1 | 12.47 | 240 | overhead | 74.3151 | USD
188 | 1P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 1 | 12.47 | 365 | overhead | 84.6089 | USD
189 | 1P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 1 | 12.47 | 520 | overhead | 99.3144 | USD
190 | 1P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | 1 | 12.47 | 660 | overhead | 111.0788 | USD
191 | 2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 2 | 12.47 | 365 | overhead | 116.4708 | USD
192 | 2P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 2 | 12.47 | 520 | overhead | 145.8818 | USD
193 | 3P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 3 | 12.47 | 365 | overhead | 148.3328 | USD
194 | 3P_OH_AL_ACSR_336kcmil_Merlin_12_47_0 | 3 | 12.47 | 520 | overhead | 192.4493 | USD
195 | 3P_OH_AL_ACSR_477kcmil_Hawk_12_47_0 | 3 | 12.47 | 660 | overhead | 227.7424 | USD
196 | 3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | 3 | 12.47 | 1040 | overhead | 335.0926 | USD
197 | 1P_OH_AL_ACSR_#2_Sparrow_13_2_0 | 1 | 13.2 | 185 | overhead | 68.9231 | USD
198 | 1P_OH_AL_ACSR_1/0_Raven_13_2_0 | 1 | 13.2 | 240 | overhead | 74.3151 | USD
199 | 1P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 1 | 13.2 | 365 | overhead | 84.6089 | USD
200 | 1P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 1 | 13.2 | 520 | overhead | 99.3144 | USD
201 | 1P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | 1 | 13.2 | 660 | overhead | 111.0788 | USD
202 | 2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 2 | 13.2 | 365 | overhead | 116.4708 | USD
203 | 2P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 2 | 13.2 | 520 | overhead | 145.8818 | USD
204 | 3P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 3 | 13.2 | 365 | overhead | 148.3328 | USD
205 | 3P_OH_AL_ACSR_336kcmil_Merlin_13_2_0 | 3 | 13.2 | 520 | overhead | 192.4493 | USD
206 | 3P_OH_AL_ACSR_477kcmil_Hawk_13_2_0 | 3 | 13.2 | 660 | overhead | 227.7424 | USD
207 | 3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | 3 | 13.2 | 1040 | overhead | 335.0926 | USD
208 | 1P_OH_AL_AAC_#2_Iris_25_0 | 1 | 25 | 185 | overhead | 69.4132 | USD
209 | 1P_OH_AL_AAC_1/0_Poppy_25_0 | 1 | 25 | 245 | overhead | 74.8053 | USD
210 | 1P_OH_AL_AAC_4/0_Oxlip_25_0 | 1 | 25 | 380 | overhead | 87.0598 | USD
211 | 1P_OH_AL_AAC_336kcmil_Tulip_25_0 | 1 | 25 | 515 | overhead | 98.8242 | USD
212 | 1P_OH_AL_AAC_477kcmil_Cosmos_25_0 | 1 | 25 | 640 | overhead | 110.0984 | USD
213 | 2P_OH_AL_AAC_4/0_Oxlip_25_0 | 2 | 25 | 380 | overhead | 121.3727 | USD
214 | 2P_OH_AL_AAC_336kcmil_Tulip_25_0 | 2 | 25 | 515 | overhead | 144.9015 | USD
215 | 3P_OH_AL_AAC_4/0_Oxlip_25_0 | 3 | 25 | 380 | overhead | 155.6855 | USD
216 | 3P_OH_AL_AAC_336kcmil_Tulip_25_0 | 3 | 25 | 515 | overhead | 190.9787 | USD
217 | 3P_OH_AL_AAC_477kcmil_Cosmos_25_0 | 3 | 25 | 640 | overhead | 224.8014 | USD
218 | 3P_OH_AL_AAC_795kcmil_Arbutus_25_0 | 3 | 25 | 875 | overhead | 288.035 | USD
219 | 3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | 3 | 25 | 1040 | overhead | 335.0926 | USD
220 | 1P_UG_AL_1/0_Brenau_0_120_0 | 1 | 0.120 | 235 | underground | 8.2696 | USD
221 | 1P_UG_AL_2/0_Converse_0_120_0 | 1 | 0.120 | 270 | underground | 8.3845 | USD
222 | 1P_UG_AL_4/0_Sweetbriar_0_120_0 | 1 | 0.120 | 350 | underground | 8.6635 | USD
223 | 3P_UG_AL_4/0_15_0_480_0 | 3 | 0.480 | 330 | underground | 10.9367 | USD
224 | 3P_UG_AL_4/0_25_0_480_0 | 3 | 0.480 | 330 | underground | 11.0599 | USD
225 | 3P_UG_AL_350kcmil_15_0_480_0 | 3 | 0.480 | 440 | underground | 11.9831 | USD
226 | 3P_UG_AL_350kcmil_25_0_480_0 | 3 | 0.480 | 440 | underground | 12.2293 | USD
227 | 3P_UG_AL_750kcmil_15_0_480_0 | 3 | 0.480 | 640 | underground | 13.8911 | USD
228 | 3P_UG_AL_750kcmil_25_0_480_0 | 3 | 0.480 | 640 | underground | 14.1989 | USD
229 | 1P_UG_AL_#2_15_4_0 | 1 | 4 | 170 | underground | 40.2902 | USD
230 | 1P_UG_AL_1/0_15_4_0 | 1 | 4 | 225 | underground | 61.0215 | USD
231 | 1P_UG_AL_1/0_25_4_0 | 1 | 4 | 225 | underground | 65.7332 | USD
232 | 1P_UG_AL_4/0_15_4_0 | 1 | 4 | 330 | underground | 103.4265 | USD
233 | 1P_UG_AL_4/0_25_4_0 | 1 | 4 | 330 | underground | 108.1382 | USD
234 | 2P_OH_AL_ACSR_4/0_Penguin_4_0 | 2 | 4 | 365 | overhead | 183.6016 | USD
235 | 3P_UG_AL_4/0_15_4_0 | 3 | 4 | 330 | underground | 247.9943 | USD
236 | 3P_UG_AL_4/0_25_4_0 | 3 | 4 | 330 | underground | 257.4177 | USD
237 | 3P_UG_AL_350kcmil_15_4_0 | 3 | 4 | 440 | underground | 328.0927 | USD
238 | 3P_UG_AL_350kcmil_25_4_0 | 3 | 4 | 440 | underground | 346.9393 | USD
239 | 3P_UG_AL_500kcmil_15_4_0 | 3 | 4 | 530 | underground | 398.7677 | USD
240 | 3P_UG_AL_500kcmil_25_4_0 | 3 | 4 | 530 | underground | 417.6143 | USD
241 | 3P_UG_AL_750kcmil_15_4_0 | 3 | 4 | 640 | underground | 474.1543 | USD
242 | 3P_UG_AL_750kcmil_25_4_0 | 3 | 4 | 640 | underground | 497.7127 | USD
243 | 3P_UG_AL_1000mcm_15_4_0 | 3 | 4 | 730 | underground | 521.271 | USD
244 | 3P_UG_AL_1000mcm_69_4_0 | 3 | 4 | 730 | underground | 554.2527 | USD
245 | 3P_OH_AL_ACSR_1033kcmil_Curlew_4_1 | 3 | 4 | 1040 | overhead | 884.0655 | USD
246 | 1P_UG_AL_#2_15_12_47_0 | 1 | 12.47 | 170 | underground | 40.2902 | USD
247 | 1P_UG_AL_1/0_15_12_47_0 | 1 | 12.47 | 225 | underground | 61.0215 | USD
248 | 1P_UG_AL_1/0_25_12_47_0 | 1 | 12.47 | 225 | underground | 65.7332 | USD
249 | 1P_UG_AL_4/0_15_12_47_0 | 1 | 12.47 | 330 | underground | 103.4265 | USD
250 | 1P_UG_AL_4/0_25_12_47_0 | 1 | 12.47 | 330 | underground | 108.1382 | USD
251 | 2P_OH_AL_ACSR_4/0_Penguin_12_47_0 | 2 | 12.47 | 365 | overhead | 183.6016 | USD
252 | 3P_UG_AL_4/0_25_12_47_0 | 3 | 12.47 | 330 | underground | 257.4177 | USD
253 | 3P_UG_AL_350kcmil_15_12_47_0 | 3 | 12.47 | 440 | underground | 328.0927 | USD
254 | 3P_UG_AL_350kcmil_25_12_47_0 | 3 | 12.47 | 440 | underground | 346.9393 | USD
255 | 3P_UG_AL_500kcmil_15_12_47_0 | 3 | 12.47 | 530 | underground | 398.7677 | USD
256 | 3P_UG_AL_500kcmil_25_12_47_0 | 3 | 12.47 | 530 | underground | 417.6143 | USD
257 | 3P_UG_AL_750kcmil_15_12_47_0 | 3 | 12.47 | 640 | underground | 474.1543 | USD
258 | 3P_UG_AL_750kcmil_25_12_47_0 | 3 | 12.47 | 640 | underground | 497.7127 | USD
259 | 3P_UG_AL_1000mcm_15_12_47_0 | 3 | 12.47 | 730 | underground | 521.271 | USD
260 | 3P_UG_AL_1000mcm_69_12_47_0 | 3 | 12.47 | 730 | underground | 554.2527 | USD
261 | 3P_OH_AL_ACSR_1033kcmil_Curlew_12.47_1 | 3 | 12.47 | 1040 | overhead | 884.0655 | USD
262 | 1P_UG_AL_#2_15_13_2_0 | 1 | 13.2 | 170 | underground | 40.2902 | USD
263 | 1P_UG_AL_1/0_15_13_2_0 | 1 | 13.2 | 225 | underground | 61.0215 | USD
264 | 1P_UG_AL_1/0_25_13_2_0 | 1 | 13.2 | 225 | underground | 65.7332 | USD
265 | 1P_UG_AL_4/0_15_13_2_0 | 1 | 13.2 | 330 | underground | 103.4265 | USD
266 | 1P_UG_AL_4/0_25_13_2_0 | 1 | 13.2 | 330 | underground | 108.1382 | USD
267 | 2P_OH_AL_ACSR_4/0_Penguin_13_2_0 | 2 | 13.2 | 365 | overhead | 183.6016 | USD
268 | 3P_UG_AL_4/0_15_13_2_0 | 3 | 13.2 | 330 | underground | 247.9943 | USD
269 | 3P_UG_AL_4/0_25_13_2_0 | 3 | 13.2 | 330 | underground | 257.4177 | USD
270 | 3P_UG_AL_350kcmil_15_13_2_0 | 3 | 13.2 | 440 | underground | 328.0927 | USD
271 | 3P_UG_AL_350kcmil_25_13_2_0 | 3 | 13.2 | 440 | underground | 346.9393 | USD
272 | 3P_UG_AL_500kcmil_15_13_2_0 | 3 | 13.2 | 530 | underground | 398.7677 | USD
273 | 3P_UG_AL_500kcmil_25_13_2_0 | 3 | 13.2 | 530 | underground | 417.6143 | USD
274 | 3P_UG_AL_750kcmil_15_13_2_0 | 3 | 13.2 | 640 | underground | 474.1543 | USD
275 | 3P_UG_AL_750kcmil_25_13_2_0 | 3 | 13.2 | 640 | underground | 497.7127 | USD
276 | 3P_UG_AL_1000mcm_15_13_2_0 | 3 | 13.2 | 730 | underground | 521.271 | USD
277 | 3P_UG_AL_1000mcm_69_13_2_0 | 3 | 13.2 | 730 | underground | 554.2527 | USD
278 | 3P_OH_AL_ACSR_1033kcmil_Curlew_13.2_1 | 3 | 13.2 | 1040 | overhead | 884.0655 | USD
279 | 1P_UG_AL_1/0_25_25_0 | 1 | 25 | 225 | underground | 65.7332 | USD
280 | 1P_UG_AL_4/0_25_25_0 | 1 | 25 | 330 | underground | 108.1382 | USD
281 | 2P_OH_AL_ACSR_4/0_Penguin_25_0 | 2 | 25 | 365 | overhead | 183.6016 | USD
282 | 3P_UG_AL_4/0_25_25_0 | 3 | 25 | 330 | underground | 257.4177 | USD
283 | 3P_UG_AL_350kcmil_25_25_0 | 3 | 25 | 440 | underground | 346.9393 | USD
284 | 3P_UG_AL_500kcmil_25_25_0 | 3 | 25 | 530 | underground | 417.6143 | USD
285 | 3P_UG_AL_750kcmil_25_25_0 | 3 | 25 | 640 | underground | 497.7127 | USD
286 | 3P_UG_AL_1000mcm_69_25_0 | 3 | 25 | 730 | underground | 554.2527 | USD
287 | 3P_OH_AL_ACSR_1033kcmil_Curlew_25_1 | 3 | 25 | 1040 | overhead | 884.0655 | USD

## transformers
| phases | primary_kV | secondary_kV | num_windings | primary_connection_type | secondary_connection_type | rated_kVA | cost | cost_units
0 | 3 | 230 | 69 | 1 | wye | wye | 300000 | 6953904 | USD/unit
1 | 3 | 230 | 69 | 1 | wye | wye | 800000 | 14133744 | USD/unit
2 | 3 | 230 | 69 | 1 | wye | wye | 1300000 | 23203584 | USD/unit
3 | 3 | 230 | 69 | 1 | wye | wye | 300000 | 6953904 | USD/unit
4 | 3 | 230 | 69 | 1 | wye | wye | 800000 | 14133744 | USD/unit
5 | 3 | 230 | 69 | 1 | wye | wye | 1300000 | 23203584 | USD/unit
6 | 3 | 69 | 4 | 1 | wye | wye | 8000 | 1020087.091 | USD/unit
7 | 3 | 69 | 4 | 1 | wye | wye | 16000 | 1912663.296 | USD/unit
8 | 3 | 69 | 4 | 1 | wye | wye | 30000 | 3586243.68 | USD/unit
9 | 3 | 69 | 12.47 | 1 | wye | wye | 16000 | 1912663.296 | USD/unit
10 | 3 | 69 | 12.47 | 1 | wye | wye | 30000 | 3586243.68 | USD/unit
11 | 3 | 69 | 12.47 | 1 | wye | wye | 40000 | 4781658.24 | USD/unit
12 | 3 | 69 | 12.47 | 1 | wye | wye | 50000 | 5977072.8 | USD/unit
13 | 3 | 69 | 12.47 | 1 | wye | wye | 60000 | 7172487.36 | USD/unit
14 | 3 | 69 | 12.47 | 1 | wye | wye | 80000 | 9563316.48 | USD/unit
15 | 3 | 69 | 13.2 | 1 | wye | wye | 16000 | 1912663.296 | USD/unit
16 | 3 | 69 | 13.2 | 1 | wye | wye | 30000 | 3586243.68 | USD/unit
17 | 3 | 69 | 13.2 | 1 | wye | wye | 40000 | 4781658.24 | USD/unit
18 | 3 | 69 | 13.2 | 1 | wye | wye | 50000 | 5977072.8 | USD/unit
19 | 3 | 69 | 13.2 | 1 | wye | wye | 60000 | 7172487.36 | USD/unit
20 | 3 | 69 | 13.2 | 1 | wye | wye | 80000 | 9563316.48 | USD/unit
21 | 3 | 69 | 25 | 1 | wye | wye | 16000 | 1912663.296 | USD/unit
22 | 3 | 69 | 25 | 1 | wye | wye | 30000 | 3586243.68 | USD/unit
23 | 3 | 69 | 25 | 1 | wye | wye | 40000 | 4781658.24 | USD/unit
24 | 3 | 69 | 25 | 1 | wye | wye | 50000 | 5977072.8 | USD/unit
25 | 3 | 69 | 25 | 1 | wye | wye | 60000 | 7172487.36 | USD/unit
26 | 3 | 69 | 25 | 1 | wye | wye | 80000 | 9563316.48 | USD/unit
27 | 3 | 69 | 4 | 1 | wye | wye | 8000 | 1020087.091 | USD/unit
28 | 3 | 69 | 4 | 1 | wye | wye | 16000 | 1912663.296 | USD/unit
29 | 3 | 69 | 4 | 1 | wye | wye | 30000 | 3586243.68 | USD/unit
30 | 3 | 69 | 12.47 | 1 | wye | wye | 16000 | 1912663.296 | USD/unit
31 | 3 | 69 | 12.47 | 1 | wye | wye | 30000 | 3586243.68 | USD/unit
32 | 3 | 69 | 12.47 | 1 | wye | wye | 40000 | 4781658.24 | USD/unit
33 | 3 | 69 | 12.47 | 1 | wye | wye | 50000 | 5977072.8 | USD/unit
34 | 3 | 69 | 12.47 | 1 | wye | wye | 60000 | 7172487.36 | USD/unit
35 | 3 | 69 | 12.47 | 1 | wye | wye | 80000 | 9563316.48 | USD/unit
36 | 3 | 69 | 13.2 | 1 | wye | wye | 16000 | 1912663.296 | USD/unit
37 | 3 | 69 | 13.2 | 1 | wye | wye | 30000 | 3586243.68 | USD/unit
38 | 3 | 69 | 13.2 | 1 | wye | wye | 40000 | 4781658.24 | USD/unit
39 | 3 | 69 | 13.2 | 1 | wye | wye | 50000 | 5977072.8 | USD/unit
40 | 3 | 69 | 13.2 | 1 | wye | wye | 60000 | 7172487.36 | USD/unit
41 | 3 | 69 | 13.2 | 1 | wye | wye | 80000 | 9563316.48 | USD/unit
42 | 3 | 69 | 25 | 1 | wye | wye | 16000 | 1912663.296 | USD/unit
43 | 3 | 69 | 25 | 1 | wye | wye | 30000 | 3586243.68 | USD/unit
44 | 3 | 69 | 25 | 1 | wye | wye | 40000 | 4781658.24 | USD/unit
45 | 3 | 69 | 25 | 1 | wye | wye | 50000 | 5977072.8 | USD/unit
46 | 3 | 69 | 25 | 1 | wye | wye | 60000 | 7172487.36 | USD/unit
47 | 3 | 69 | 25 | 1 | wye | wye | 80000 | 9563316.48 | USD/unit
48 | 1 | 4 | 0.120 | 3 | wye | wye | 10 | 2400 | USD/unit
49 | 1 | 4 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
50 | 1 | 4 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
51 | 1 | 4 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
52 | 3 | 4 | 0.480 | 1 | wye | wye | 75 | 35175 | USD/unit
53 | 3 | 4 | 0.480 | 1 | wye | wye | 100 | 36975 | USD/unit
54 | 3 | 4 | 0.480 | 1 | wye | wye | 150 | 38625 | USD/unit
55 | 3 | 4 | 0.480 | 1 | wye | wye | 300 | 47100 | USD/unit
56 | 3 | 4 | 0.480 | 1 | wye | wye | 500 | 55875 | USD/unit
57 | 3 | 4 | 0.480 | 1 | wye | wye | 1000 | 69600 | USD/unit
58 | 3 | 4 | 0.480 | 1 | wye | wye | 1500 | 95000 | USD/unit
59 | 1 | 12.47 | 0.120 | 3 | wye | wye | 10 | 2400 | USD/unit
60 | 1 | 12.47 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
61 | 1 | 12.47 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
62 | 1 | 12.47 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
63 | 3 | 12.47 | 0.480 | 1 | wye | wye | 75 | 35175 | USD/unit
64 | 3 | 12.47 | 0.480 | 1 | wye | wye | 100 | 36975 | USD/unit
65 | 3 | 12.47 | 0.480 | 1 | wye | wye | 150 | 38625 | USD/unit
66 | 3 | 12.47 | 0.480 | 1 | wye | wye | 300 | 47100 | USD/unit
67 | 3 | 12.47 | 0.480 | 1 | wye | wye | 500 | 55875 | USD/unit
68 | 3 | 12.47 | 0.480 | 1 | wye | wye | 1000 | 69600 | USD/unit
69 | 3 | 12.47 | 0.480 | 1 | wye | wye | 1500 | 95000 | USD/unit
70 | 1 | 13.2 | 0.120 | 3 | wye | wye | 10 | 2400 | USD/unit
71 | 1 | 13.2 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
72 | 1 | 13.2 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
73 | 1 | 13.2 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
74 | 3 | 13.2 | 0.480 | 1 | wye | wye | 75 | 35175 | USD/unit
75 | 3 | 13.2 | 0.480 | 1 | wye | wye | 100 | 36975 | USD/unit
76 | 3 | 13.2 | 0.480 | 1 | wye | wye | 150 | 38625 | USD/unit
77 | 3 | 13.2 | 0.480 | 1 | wye | wye | 300 | 47100 | USD/unit
78 | 3 | 13.2 | 0.480 | 1 | wye | wye | 500 | 55875 | USD/unit
79 | 3 | 13.2 | 0.480 | 1 | wye | wye | 1000 | 69600 | USD/unit
80 | 3 | 13.2 | 0.480 | 1 | wye | wye | 1500 | 95000 | USD/unit
81 | 1 | 25 | 0.120 | 3 | wye | wye | 10 | 2400 | USD/unit
82 | 1 | 25 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
83 | 1 | 25 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
84 | 1 | 25 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
85 | 3 | 25 | 0.480 | 1 | wye | wye | 75 | 35175 | USD/unit
86 | 3 | 25 | 0.480 | 1 | wye | wye | 100 | 36975 | USD/unit
87 | 3 | 25 | 0.480 | 1 | wye | wye | 150 | 38625 | USD/unit
88 | 3 | 25 | 0.480 | 1 | wye | wye | 300 | 47100 | USD/unit
89 | 3 | 25 | 0.480 | 1 | wye | wye | 500 | 55875 | USD/unit
90 | 3 | 25 | 0.480 | 1 | wye | wye | 1000 | 69600 | USD/unit
91 | 3 | 25 | 0.480 | 1 | wye | wye | 1500 | 95000 | USD/unit
92 | 1 | 4 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
93 | 1 | 4 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
94 | 1 | 4 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
95 | 3 | 4 | 0.480 | 1 | wye | wye | 75 | 35175 | USD/unit
96 | 3 | 4 | 0.480 | 1 | wye | wye | 100 | 36975 | USD/unit
97 | 3 | 4 | 0.480 | 1 | wye | wye | 150 | 38625 | USD/unit
98 | 3 | 4 | 0.480 | 1 | wye | wye | 300 | 47100 | USD/unit
99 | 3 | 4 | 0.480 | 1 | wye | wye | 500 | 55875 | USD/unit
100 | 3 | 4 | 0.480 | 1 | wye | wye | 1000 | 69600 | USD/unit
101 | 3 | 4 | 0.480 | 1 | wye | wye | 1500 | 95000 | USD/unit
102 | 1 | 12.47 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
103 | 1 | 12.47 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
104 | 1 | 12.47 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
105 | 3 | 12.47 | 0.480 | 1 | wye | wye | 75 | 35175 | USD/unit
106 | 3 | 12.47 | 0.480 | 1 | wye | wye | 100 | 36975 | USD/unit
107 | 3 | 12.47 | 0.480 | 1 | wye | wye | 150 | 38625 | USD/unit
108 | 3 | 12.47 | 0.480 | 1 | wye | wye | 300 | 47100 | USD/unit
109 | 3 | 12.47 | 0.480 | 1 | wye | wye | 500 | 55875 | USD/unit
110 | 3 | 12.47 | 0.480 | 1 | wye | wye | 1000 | 69600 | USD/unit
111 | 3 | 12.47 | 0.480 | 1 | wye | wye | 1500 | 95000 | USD/unit
112 | 1 | 13.2 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
113 | 1 | 13.2 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
114 | 1 | 13.2 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
115 | 3 | 13.2 | 0.480 | 1 | wye | wye | 75 | 35175 | USD/unit
116 | 3 | 13.2 | 0.480 | 1 | wye | wye | 100 | 36975 | USD/unit
117 | 3 | 13.2 | 0.480 | 1 | wye | wye | 150 | 38625 | USD/unit
118 | 3 | 13.2 | 0.480 | 1 | wye | wye | 300 | 47100 | USD/unit
119 | 3 | 13.2 | 0.480 | 1 | wye | wye | 500 | 55875 | USD/unit
120 | 3 | 13.2 | 0.480 | 1 | wye | wye | 1000 | 69600 | USD/unit
121 | 3 | 13.2 | 0.480 | 1 | wye | wye | 1500 | 95000 | USD/unit
122 | 1 | 25 | 0.120 | 3 | wye | wye | 25 | 3075 | USD/unit
123 | 1 | 25 | 0.120 | 3 | wye | wye | 50 | 4500 | USD/unit
124 | 1 | 25 | 0.120 | 3 | wye | wye | 75 | 6900 | USD/unit
125 | 3 | 25 | 0.480 | 1 | wye | wye | 75 | 35175 | USD/unit
126 | 3 | 25 | 0.480 | 1 | wye | wye | 100 | 36975 | USD/unit
127 | 3 | 25 | 0.480 | 1 | wye | wye | 150 | 38625 | USD/unit
128 | 3 | 25 | 0.480 | 1 | wye | wye | 300 | 47100 | USD/unit
129 | 3 | 25 | 0.480 | 1 | wye | wye | 500 | 55875 | USD/unit
130 | 3 | 25 | 0.480 | 1 | wye | wye | 1000 | 69600 | USD/unit
131 | 3 | 25 | 0.480 | 1 | wye | wye | 1500 | 95000 | USD/unit

## control_changes
| Type | cost | cost_units
0 | Change LTC settings | 500 | USD/unit
1 | Add new LTC controller | 15000 | USD/unit
2 | Change voltage regulator controller settings | 500 | USD/unit
3 | Add new voltage regulator controller | 15000 | USD/unit
4 | Replace voltage regulator controller | 3500 | USD/unit
5 | Change capacitor controller settings | 2000 | USD/unit
6 | Replace capacitor controller | 3500 | USD/unit

## voltage_regulators
| Type | phases | primary_kV | secondary_kV | num_windings | primary_connection_type | secondary_connection_type | rated_kVA | cost | cost_units
0 | Add new voltage regulator transformer | 3 | 25 | 25 | 2 | wye | wye | 10000 | 220000 | USD/unit
1 | Add new voltage regulator transformer | 3 | 12.47 | 12.47 | 2 | wye | wye | 10000 | 150000 | USD/unit